| Title | Regulatory Reference | Initial | Annual | Other Interval | Comments |
| --- | --- | --- | --- | --- | --- |
| Access to Employee Exposure and Medical Records | 29 CFR 1910.1020(g) | X | X |  | (g) Employee information. (1) Upon an employee's first entering into employment, and at least annually thereafter, each employer shall inform current employees covered by this section of the following: (g)(1)(i) The existence, location, and availability of any records covered by this section; (g)(1)(ii) The person responsible for maintaining and providing access to records; and (g)(1)(iii) Each employee's rights of access to these records. |
| Asbestos Awareness | 29 CFR 1910.1001(j)(2) 29 CFR 1910.1001(j)(3) | X | X |  | (j)(2) Duties of employers and building and facility owners. (i) Building and facility owners shall determine the presence, location, and quantity of ACM and/or PACM at the work site. Employers and building and facility owners shall exercise due diligence in complying with these requirements to inform employers and employees about the presence and location of ACM and PACM. (j)(3)(v) At the entrance to mechanical rooms/areas in which employees reasonably can be expected to enter and which contain ACM and/or PACM, the building owner shall post signs which identify the material which is present, its location, and appropriate work practices which, if followed, will ensure that ACM and/or PACM will not be disturbed. The employer shall ensure, to the extent feasible, that employees who come in contact with these signs can comprehend them. Means to ensure employee comprehension may include the use of foreign languages, pictographs, graphics, and awareness training. |
| Benzene | 29 CFR 1910.1028(j)(3) | X | X |  | (j)(3) Information and training. (i) The employer shall provide employees with information and training at the time of their initial assignment to a work area where benzene is present. If exposures are above the action level, employees shall be provided with information and training at least annually thereafter. |
| Bloodborne Pathogens | 29 CFR 1910.1030(g)(2) | X | X |  | (g)(2) Information and training. (i) Employers shall ensure that all employees with occupational exposure participate in a training program which must be provided at no cost to the employee and during working hours. (g)(2)(ii) Training shall be provided as follows: (g)(2)(ii)(A) At the time of initial assignment to tasks where occupational exposure may take place; (g)(2)(ii)(B) Within 90 days after the effective date of the standard; and (g)(2)(ii)(C) At least annually thereafter. |
| Confined Space Awareness | 29 CFR 1910.146(c)(2) | X |  |  | (c)(2) If the workplace contains permit spaces, the employer shall inform exposed employees, by posting danger signs or by any other equally effective means, of the existence and location of and the danger posed by the permit spaces. |
| Confined Space Entry – Entrant; Confined Space Entry – Attendant Confined Space Entry - Supervisor | 29 CFR 1910.146(g) 29 CFR 1910.146(i) 29 CFR 1910.146(h) 29 CFR 1910.146(j) | X |  |  | g) Training. (1) The employer shall provide training so that all employees whose work is regulated by this section acquire the understanding, knowledge, and skills necessary for the safe performance of the duties assigned under this section. (g)(2) Training shall be provided to each affected employee: (g)(2)(i) Before the employee is first assigned duties under this section; (g)(2)(ii) Before there is a change in assigned duties; (g)(2)(iii) Whenever there is a change in permit space operations that presents a hazard about which an employee has not previously been trained; (g)(2)(iv) Whenever the employer has reason to believe either that there are deviations from the permit space entry procedures required by paragraph (d)(3) of this section or that there are inadequacies in the employee's knowledge or use of these procedures. (g)(3) The training shall establish employee proficiency in the duties required by this section and shall introduce new or revised procedures, as necessary, for compliance with this section. (g)(4) The employer shall certify that the training required by paragraphs (g)(1) through (g)(3) of this section has been accomplished. The certification shall contain each employee's name, the signatures or initials of the trainers, and the dates of training. The certification shall be available for inspection by employees and their authorized representatives. |
| Confined Space Entry – Rescuer | 29 CFR 1910.146(g) 29 CFR 1910.146(k)(2) | X | X |  | (k)(2)(ii) Train affected employees to perform assigned rescue duties. The employer must ensure that such employees successfully complete the training required to establish proficiency as an authorized entrant, as provided by paragraphs (g) and (h) of this section; (k)(2)(iii) Train affected employees in basic first-aid and cardiopulmonary resuscitation (CPR). The employer shall ensure that at least one member of the rescue team or service holding a current certification in first aid and CPR is available; and (k)(2)(iv) Ensure that affected employees practice making permit space rescues at least once every 12 months, by means of simulated rescue operations in which they remove dummies, manikins, or actual persons from the actual permit spaces or from representative permit spaces. Representative permit spaces shall, with respect to opening size, configuration, and accessibility, simulate the types of permit spaces from which rescue is to be performed. |
| Control of Work – Hot Work | 29 CFR 1910.252 | X |  |  | (a)(2)(iii)(B) Fire watchers shall have fire extinguishing equipment readily available and be trained in its use. They shall be familiar with facilities for sounding an alarm in the event of a fire. (a)(2)(xiii)(C) Insist that cutters or welders and their supervisors are suitably trained in the safe operation of their equipment and the safe use of the process. |
| CPR | 29 CFR 1910.151(b) | X |  | 2-yr | (b) In the absence of an infirmary, clinic, or hospital in near proximity to the workplace which is used for the treatment of all injured employees, a person or persons shall be adequately trained to render first aid. |
| DOT: Drug and Alcohol – Reasonable Cause Supervisory | 49 CFR 199.113(c) 49 CFR 199.241 | X |  |  | (c) Training under each EAP for supervisory personnel who will determine whether an employee must be drug tested based on reasonable cause must include one 60-minute period of training on the specific, contemporaneous physical, behavioral, and performance indicators of probable drug use. Each operator shall ensure that persons designated to determine whether reasonable suspicion exists to require a covered employee to undergo alcohol testing under §199.225(b) receive at least 60 minutes of training on the physical, behavioral, speech, and performance indicators of probable alcohol misuse. |
| DOT: Hazmat – General Awareness | 49 CFR 172.704(a)(1) 49 CFR 172.704(c) | X |  | 3-yr | (a) Hazmat employee training must include the following: (1) General awareness/familiarization training. Each hazmat employee shall be provided general awareness/familiarization training designed to provide familiarity with the requirements of this subchapter, and to enable the employee to recognize and identify hazardous materials consistent with the hazard communication standards of this subchapter. (c) Initial and recurrent training-(1) Initial training. A new hazmat employee, or a hazmat employee who changes job functions may perform those functions prior to the completion of training provided- (i) The employee performs those functions under the direct supervision of a properly trained and knowledgeable hazmat employee; and ii) The training is completed within 90 days after employment or a change in job function. 2) Recurrent training. A hazmat employee shall receive the training required by this subpart at least once every three years. |
| DOT: Hazmat – Function Specific | 49 CFR 172.704(a)(2) | X |  | 3-yr | 2) Function-specific training. (i) Each hazmat employee shall be provided function-specific training concerning requirements of this subchapter, or exemptions issued under subchapter A of this chapter, which are specifically applicable to the functions the employee performs. (ii) As an alternative to function-specific training on the requirements of this subchapter, training relating to the requirements of the ICAO Technical Instructions and the IMDG Code may be provided to the extent such training addresses functions authorized by §§171.11 and 171.12 of this subchapter. (c) Initial and recurrent training-(1) Initial training. A new hazmat employee, or a hazmat employee who changes job functions may perform those functions prior to the completion of training provided- (i) The employee performs those functions under the direct supervision of a properly trained and knowledgeable hazmat employee; and ii) The training is completed within 90 days after employment or a change in job function. 2) Recurrent training. A hazmat employee shall receive the training required by this subpart at least once every three years. |
| DOT: Hazmat – Safety (Emergency Response) | 49 CFR 172.704(a)(3) | X |  | 3-yr | (3) Safety training. Each hazmat employee shall receive safety training concerning- (i) Emergency response information required by subpart G of part 172; (ii) Measures to protect the employee from the hazards associated with hazardous materials to which they may be exposed in the work place, including specific measures the hazmat employer has implemented to protect employees from exposure; and (iii) Methods and procedures for avoiding accidents, such as the proper procedures for handling packages containing hazardous materials. (c) Initial and recurrent training-(1) Initial training. A new hazmat employee, or a hazmat employee who changes job functions may perform those functions prior to the completion of training provided- (i) The employee performs those functions under the direct supervision of a properly trained and knowledgeable hazmat employee; and ii) The training is completed within 90 days after employment or a change in job function. 2) Recurrent training. A hazmat employee shall receive the training required by this subpart at least once every three years. |
| DOT: Hazmat – Security | 49 CFR 172.704(a)(4) 49 CFR 172.704(a)(5) | X |  | 3-yr | (4) Security awareness training. No later than the date of the first scheduled recurrent training after March 25, 2003, and in no case later than March 24, 2006, each hazmat employee must receive training that provides an awareness of security risks associated with hazardous materials transportation and methods designed to enhance transportation security. This training must also include a component covering how to recognize and respond to possible security threats. After March 25, 2003, new hazmat employees must receive the security awareness training required by this paragraph within 90 days after employment. (5) In-depth security training. By December 22, 2003, each hazmat employee of a person required to have a security plan in accordance with subpart I of this part must be trained concerning the security plan and its implementation. Security training must include company security objectives, specific security procedures, employee responsibilities, actions to take in the event of a security breach, and the organizational security structure. (c) Initial and recurrent training-(1) Initial training. A new hazmat employee, or a hazmat employee who changes job functions may perform those functions prior to the completion of training provided- (i) The employee performs those functions under the direct supervision of a properly trained and knowledgeable hazmat employee; and ii) The training is completed within 90 days after employment or a change in job function. 2) Recurrent training. A hazmat employee shall receive the training required by this subpart at least once every three years. |
| DOT: Hazmat – Modal-Specific | 49 CFR 172.700 | X |  | 3-yr | a) Purpose. This subpart prescribes requirements for training hazmat employees. (b) Scope. Training as used in this subpart means a systematic program that ensures a hazmat employee has familiarity with the general provisions of this subchapter, is able to recognize and identify hazardous materials, has knowledge of specific requirements of this subchapter applicable to functions performed by the employee, and has knowledge of emergency response information, self-protection measures and accident prevention methods and procedures (see §172.704). (c) Modal-specific training requirements. Additional training requirements for the individual modes of transportation are prescribed in parts 174, 175, 176, and 177 of this subchapter. |
| DOT: Hazmat - Driver | 49 CFR 177.800(c) 49 CFR 177.816(a) | X |  |  | c) Responsibility for training. A carrier may not transport a hazardous material by motor vehicle unless each of its hazmat employees involved in that transportation is trained as required by this part and subpart H of part 172 of this subchapter. (a) In addition to the training requirements of §177.800, no carrier may transport, or cause to be transported, a hazardous material unless each hazmat employee who will operate a motor vehicle has been trained in the applicable requirements of 49 CFR parts 390 through 397 and the procedures necessary for the safe operation of that motor vehicle. |
| Electrical Safety – Non-Qualified | 29 CFR 1910.332 | X |  |  | (a) Scope. The training requirements contained in this section apply to employees who face a risk of electric shock that is not reduced to a safe level by the electrical installation requirements of §§1910.303 through 1910.308. Note: Employees in occupations listed in Table S-4 face such a risk and are required to be trained. Other employees who also may reasonably be expected to face a comparable risk of injury due to electric shock or other electrical hazards must also be trained. (b) Content of training. (1) Practices addressed in this standard. Employees shall be trained in and familiar with the safety-related work practices required by §§1910.331 through 1910.335 that pertain to their respective job assignments. (2) Additional requirements for unqualified persons. Employees who are covered by paragraph (a) of this section but who are not qualified persons shall also be trained in and familiar with any electrically related safety practices not specifically addressed by §§1910.331 through 1910.335 but which are necessary for their safety. |
| Electrical Safety – Qualified | 29 CFR 1910.332 | X |  |  | (3) Additional requirements for qualified persons. Qualified persons (i.e., those permitted to work on or near exposed energized parts) shall, at a minimum, be trained in and familiar with the following: (i) The skills and techniques necessary to distinguish exposed live parts from other parts of electric equipment, (ii) The skills and techniques necessary to determine the nominal voltage of exposed live parts, and (iii) The clearance distances specified in §1910.333(c) and the corresponding voltages to which the qualified person will be exposed. Note 1: For the purposes of §§1910.331 through 1910.335, a person must have the training required by paragraph (b)(3) of this section in order to be considered a qualified person. Note 2: Qualified persons whose work on energized equipment involves either direct contact or contact by means of tools or materials must also have the training needed to meet §1910.333(c)(2). |
| Emergency Alarm Systems | 29 CFR 1910.165(d)(5) | X |  |  | (5) The employer shall assure that the servicing, maintenance and testing of employee alarms are done by persons trained in the designed operation and functions necessary for reliable and safe operation of the system. |
| Fall Protection | 29 CFR 1926.503 | X |  |  | (a) Training Program. (1) The employer shall provide a training program for each employee who might be exposed to fall hazards. The program shall enable each employee to recognize the hazards of falling and shall train each employee in the procedures to be followed in order to minimize these hazards. (b) Certification of training. (1) The employer shall verify compliance with paragraph (a) of this section by preparing a written certification record. The written certification record shall contain the name or other identity of the employee trained, the date(s) of the training, and the signature of the person who conducted the training or the signature of the employer. If the employer relies on training conducted by another employer or completed prior to the effective date of this section, the certification record shall indicate the date the employer determined the prior training was adequate rather than the date of actual training. (c) Retraining. When the employer has reason to believe that any affected employee who has already been trained does not have the understanding and skill required by paragraph (a) of this section, the employer shall retrain each such employee. |
| Fire Prevention Plan | 29 CFR 1910.39(d) | X |  |  | (d) Employee information. An employer must inform employees upon initial assignment to a job of the fire hazards to which they are exposed. An employer must also review with each employee those parts of the fire prevention plan necessary for self-protection. |
| First Aid | 29 CFR 1910.151(b) | X |  | 2-yr | (b) In the absence of an infirmary, clinic, or hospital in near proximity to the workplace which is used for the treatment of all injured employees, a person or persons shall be adequately trained to render first aid. |
| Forklift Safety | 29 CFR 1910.178(l)(1) 29 CFR 1910.178(l)(4) | X |  | 3-yr | (l) Operator training. (1) Safe operation. (i) The employer shall ensure that each powered industrial truck operator is competent to operate a powered industrial truck safely, as demonstrated by the successful completion of the training and evaluation specified in this paragraph (l). (ii) Prior to permitting an employee to operate a powered industrial truck (except for training purposes), the employer shall ensure that each operator has successfully completed the training required by this paragraph (l), except as permitted by paragraph (l)(5). (4) Refresher training and evaluation. (i) Refresher training, including an evaluation of the effectiveness of that training, shall be conducted as required by paragraph (l)(4)(ii) to ensure that the operator has the knowledge and skills needed to operate the powered industrial truck safely. (ii) Refresher training in relevant topics shall be provided to the operator when: (A) The operator has been observed to operate the vehicle in an unsafe manner; (B) The operator has been involved in an accident or near-miss incident; (C) The operator has received an evaluation that reveals that the operator is not operating the truck safely; (D) The operator is assigned to drive a different type of truck; or (E) A condition in the workplace changes in a manner that could affect safe operation of the truck. (iii) An evaluation of each powered industrial truck operator's performance shall be conducted at least once every three years. |
| Hazard Communication | 29 CFR 1910.1200(h) | X |  |  | (h) Employee information and training. (1) Employers shall provide employees with effective information and training on hazardous chemicals in their work area at the time of their initial assignment, and whenever a new physical or health hazard the employees have not previously been trained about is introduced into their work area. Information and training may be designed to cover categories of hazards (e.g., flammability, carcinogenicity) or specific chemicals. |
| HAZWOPER: First Responder Awareness (Level 1) | 29 CFR 1910.120(e) 29 CFR 1910.120(e)(8) | X | X |  | (e) Training-(1) General. (i) All employees working on site (such as but not limited to equipment operators, general laborers and others) exposed to hazardous substances, health hazards, or safety hazards and their supervisors and management responsible for the site shall receive training meeting the requirements of this paragraph before they are permitted to engage in hazardous waste operations that could expose them to hazardous substances, safety, or health hazards, and they shall receive review training as specified in this paragraph. (ii) Employees shall not be permitted to participate in or supervise field activities until they have been trained to a level required by their job function and responsibility. (8) Refresher training. Employees specified in paragraph (e)(1) of this section, and managers and supervisors specified in paragraph (e)(4) of this section, shall receive eight hours of refresher training annually on the items specified in paragraph (e)(2) and/or (e)(4) of this section, any critique of incidents that have occurred in the past year that can serve as training examples of related work, and other relevant topics. |
| HAZWOPER: First Responder Operations (Level 2) | 29 CFR 1910.120(q)(6)(ii) 29 CFR 1910.120(q)(8) | X | X |  | (ii) First responder operations level. First responders at the operations level are individuals who respond to releases or potential releases of hazardous substances as part of the initial response to the site for the purpose of protecting nearby persons, property, or the environment from the effects of the release. They are trained to respond in a defensive fashion without actually trying to stop the release. Their function is to contain the release from a safe distance, keep it from spreading, and prevent exposures. First responders at the operational level shall have received at least eight hours of training or have had sufficient experience to objectively demonstrate competency in the following areas in addition to those listed for the awareness level and the employer shall so certify: (A) Knowledge of the basic hazard and risk assessment techniques. (B) Know how to select and use proper personal protective equipment provided to the first responder operational level. (C) An understanding of basic hazardous materials terms. (D) Know how to perform basic control, containment and/or confinement operations within the capabilities of the resources and personal protective equipment available with their unit. (E) Know how to implement basic decontamination procedures. (F) An understanding of the relevant standard operating procedures and termination procedures. (8) Refresher training. (i) Those employees who are trained in accordance with paragraph (q)(6) of this section shall receive annual refresher training of sufficient content and duration to maintain their competencies, or shall demonstrate competency in those areas at least yearly. |
| HAZWOPER: Hazardous Material Specialist (Level 4) | 29 CFR 1910.120(q)(6)(iii) 29 CFR 1910.120(q)(8) | X | X |  | (iii) Hazardous materials technician. Hazardous materials technicians are individuals who respond to releases or potential releases for the purpose of stopping the release. They assume a more aggressive role than a first responder at the operations level in that they will approach the point of release in order to plug, patch or otherwise stop the release of a hazardous substance. Hazardous materials technicians shall have received at least 24 hours of training equal to the first responder operations level and in addition have competency in the following areas and the employer shall so certify: (A) Know how to implement the employer's emergency response plan. (B) Know the classification, identification and verification of known and unknown materials by using field survey instruments and equipment. (C) Be able to function within an assigned role in the Incident Command System. (D) Know how to select and use proper specialized chemical personal protective equipment provided to the hazardous materials technician. (E) Understand hazard and risk assessment techniques. (F) Be able to perform advance control, containment, and/or confinement operations within the capabilities of the resources and personal protective equipment available with the unit. (G) Understand and implement decontamination procedures. (H) Understand termination procedures. (I) Understand basic chemical and toxicological terminology and behavior. (8) Refresher training. (i) Those employees who are trained in accordance with paragraph (q)(6) of this section shall receive annual refresher training of sufficient content and duration to maintain their competencies, or shall demonstrate competency in those areas at least yearly. |
| HAZWOPER: Hazardous Materials Technician (Level 3) | 29 CFR 1910.120(q)(6)(iv) 29 CFR 1910.120(q)(8) | X | X |  | (iv) Hazardous materials specialist. Hazardous materials specialists are individuals who respond with and provide support to hazardous materials technicians. Their duties parallel those of the hazardous materials technician, however, those duties require a more directed or specific knowledge of the various substances they may be called upon to contain. The hazardous materials specialist would also act as the site liaison with Federal, state, local and other government authorities in regards to site activities. Hazardous materials specialists shall have received at least 24 hours of training equal to the technician level and in addition have competency in the following areas and the employer shall so certify: (A) Know how to implement the local emergency response plan. (B) Understand classification, identification and verification of known and unknown materials by using advanced survey instruments and equipment. (C) Know of the state emergency response plan. (D) Be able to select and use proper specialized chemical personal protective equipment provided to the hazardous materials specialist. (E) Understand in-depth hazard and risk techniques. (F) Be able to perform specialized control, containment, and/or confinement operations within the capabilities of the resources and personal protective equipment available. (G) Be able to determine and implement decontamination procedures. (H) Have the ability to develop a site safety and control plan. (I) Understand chemical, radiological and toxicological terminology and behavior. (8) Refresher training. (i) Those employees who are trained in accordance with paragraph (q)(6) of this section shall receive annual refresher training of sufficient content and duration to maintain their competencies, or shall demonstrate competency in those areas at least yearly. |
| HAZWOPER: Incident Commander (Level 5) | 29 CFR 1910.120(q)(6)(v) 29 CFR 1910.120(q)(8) | X | X |  | v) On scene incident commander. Incident commanders, who will assume control of the incident scene beyond the first responder awareness level, shall receive at least 24 hours of training equal to the first responder operations level and in addition have competency in the following areas and the employer shall so certify: (A) Know and be able to implement the employer's incident command system. (B) Know how to implement the employer's emergency response plan. (C) Know and understand the hazards and risks associated with employees working in chemical protective clothing. (D) Know how to implement the local emergency response plan. (E) Know of the state emergency response plan and of the Federal Regional Response Team. (F) Know and understand the importance of decontamination procedures. (8) Refresher training. (i) Those employees who are trained in accordance with paragraph (q)(6) of this section shall receive annual refresher training of sufficient content and duration to maintain their competencies, or shall demonstrate competency in those areas at least yearly. |
| Hearing Conservation | 29 CFR 1910.95(k) | X | X |  | (k) Training program. (1) The employer shall institute a training program for all employees who are exposed to noise at or above an 8-hour time-weighted average of 85 decibels, and shall ensure employee participation in such program. (2) The training program shall be repeated annually for each employee included in the hearing conservation program. Information provided in the training program shall be updated to be consistent with changes in protective equipment and work processes. |
| Incident Management Plan | 29 CFR 1910.38(e) 29 CFR 1910.38(f) | X |  |  | (e) Training. An employer must designate and train employees to assist in a safe and orderly evacuation of other employees. (f) Review of emergency action plan. An employer must review the emergency action plan with each employee covered by the plan: (1) When the plan is developed or the employee is assigned initially to a job; (2) When the employee's responsibilities under the plan change; and (3) When the plan is changed. |
| Injury and Illness Reporting | 29 CFR 1904.35(a)(1) | X |  |  | (a) Basic requirement. Your employees and their representatives must be involved in the recordkeeping system in several ways. (1) You must inform each employee of how he or she is to report an injury or illness to you. |
| Laboratory Safety | 29 CFR 1910.1450(f) | X |  | 3-yr | (f) Employee information and training. (1) The employer shall provide employees with information and training to ensure that they are apprised of the hazards of chemicals present in their work area. (2) Such information shall be provided at the time of an employee's initial assignment to a work area where hazardous chemicals are present and prior to assignments involving new exposure situations. The frequency of refresher information and training shall be determined by the employer. |
| Ladder Safety | 29 CFR 1926.1060 | X |  |  | (a) The employer shall provide a training program for each employee using ladders and stairways, as necessary. The program shall enable each employee to recognize hazards related to ladders and stairways, and shall train each employee in the procedures to be followed to minimize these hazards. (b) Retraining shall be provided for each employee as necessary so that the employee maintains the understanding and knowledge acquired through compliance with this section. |
| Lead | 29 CFR 1910.1025(l) | X | X |  | (l) Employee information and training-(1) Training program. (i) Each employer who has a workplace in which there is a potential exposure to airborne lead at any level shall inform employees of the content of Appendices A and B of this regulation. (ii) The employer shall institute a training program for and assure the participation of all employees who are subject to exposure to lead at or above the action level or for whom the possibility of skin or eye irritation exists. (iii) The employer shall provide initial training by 180 days from the effective date for those employees covered by paragraph (l)(1) (ii) on the standard's effective date and prior to the time of initial job assignment for those employees subsequently covered by this paragraph. (iv) The training program shall be repeated at least annually for each employee. |
| Lockout/Tagout – Affected | 29 CFR 1910.147(c)(7) | X |  |  | (7) Training and communication. (i) The employer shall provide training to ensure that the purpose and function of the energy control program are understood by employees and that the knowledge and skills required for the safe application, usage, and removal of the energy controls are acquired by employees. The training shall include the following: (B) Each affected employee shall be instructed in the purpose and use of the energy control procedure. (iii) Employee retraining. (A) Retraining shall be provided for all authorized and affected employees whenever there is a change in their job assignments, a change in machines, equipment or processes that present a new hazard, or when there is a change in the energy control procedures. (B) Additional retraining shall also be conducted whenever a periodic inspection under paragraph (c)(6) of this section reveals, or whenever the employer has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of the energy control procedures. (C) The retraining shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary. |
| Lockout/Tagout – Authorized | 29 CFR 1910.147(c)(7) | X |  |  | 7) Training and communication. (i) The employer shall provide training to ensure that the purpose and function of the energy control program are understood by employees and that the knowledge and skills required for the safe application, usage, and removal of the energy controls are acquired by employees. The training shall include the following: (A) Each authorized employee shall receive training in the recognition of applicable hazardous energy sources, the type and magnitude of the energy available in the workplace, and the methods and means necessary for energy isolation and control. (iii) Employee retraining. (A) Retraining shall be provided for all authorized and affected employees whenever there is a change in their job assignments, a change in machines, equipment or processes that present a new hazard, or when there is a change in the energy control procedures. (B) Additional retraining shall also be conducted whenever a periodic inspection under paragraph (c)(6) of this section reveals, or whenever the employer has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of the energy control procedures. (C) The retraining shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary. |
| Lockout/Tagout – Periodic Inspection | 29 CFR 1910.147(c)(6) |  | X |  | 6) Periodic inspection. (i) The employer shall conduct a periodic inspection of the energy control procedure at least annually to ensure that the procedure and the requirements of this standard are being followed. (A) The periodic inspection shall be perfomed by an authorized employee other than the ones(s) utilizing the energy control procedure being inspected. (B) The periodic inspection shall be conducted to correct any deviations or inadequacies identified. (C) Where lockout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized employee, of that employee's responsibilities under the energy control procedure being inspected. (D) Where tagout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized and affected employee, of that employee's responsibilities under the energy control procedure being inspected, and the elements set forth in paragraph (c)(7)(ii) of this section. (ii) The employer shall certify that the periodic inspections have been performed. The certification shall identify the machine or equipment on which the energy control procedure was being utilized, the date of the inspection, the employees included in the inspection, and the person performing the inspection. |
| Personal Protective Equipment | 29 CFR 1910.132(f) | X |  |  | (f) Training. (1) The employer shall provide training to each employee who is required by this section to use PPE. (2) Each affected employee shall demonstrate an understanding of the training specified in paragraph (f)(1) of this section, and the ability to use PPE properly, before being allowed to perform work requiring the use of PPE. (3) When the employer has reason to believe that any affected employee who has already been trained does not have the understanding and skill required by paragraph (f)(2) of this section, the employer shall retrain each such employee. Circumstances where retraining is required include, but are not limited to, situations where: (i) Changes in the workplace render previous training obsolete; or (ii) Changes in the types of PPE to be used render previous training obsolete; or (iii) Inadequacies in an affected employee's knowledge or use of assigned PPE indicate that the employee has not retained the requisite understanding or skill. |
| Portable Fire Extinguishers | 29 CFR 1910.157(g) | X | X |  | (g) Training and education. (1) Where the employer has provided portable fire extinguishers for employee use in the workplace, the employer shall also provide an educational program to familiarize employees with the general principles of fire extinguisher use and the hazards involved with incipient stage fire fighting. (2) The employer shall provide the education required in paragraph (g)(1) of this section upon initial employment and at least annually thereafter. (3) The employer shall provide employees who have been designated to use fire fighting equipment as part of an emergency action plan with training in the use of the appropriate equipment. (4) The employer shall provide the training required in paragraph (g)(3) of this section upon initial assignment to the designated group of employees and at least annually thereafter. |
| Powered Platforms | 29 CFR 1910.66(h)(7)(i)(1) | X |  |  | (i) Operations-(1) Training. (i) Working platforms shall be operated only by persons who are proficient in the operation, safe use and inspection of the particular working platform to be operated. (ii) All employees who operate working platforms shall be trained in the following: (A) Recognition of, and preventive measures for, the safety hazards associated with their individual work tasks. (B) General recognition and prevention of safety hazards associated with the use of working platforms, including the provisions in the section relating to the particular working platform to be operated. (C) Emergency action plan procedures required in paragraph (e)(9) of this section. (D) Work procedures required in paragraph (i)(1)(iv) of this section. (E) Personal fall arrest system inspection, care, use and system performance. (iii) Training of employees in the operation and inspection of working platforms shall be done by a competent person. (iv) Written work procedures for the operation, safe use and inspection of working platforms shall be provided for employee training. Pictorial methods of instruction, may be used, in lieu of written work procedures, if employee communication is improved using this method. The operating manuals supplied by manufacturers for platform system components can serve as the basis for these procedures. (v) The employer shall certify that employees have been trained in operating and inspecting a working platform by preparing a certification record which includes the identity of the person trained, the signature of the employer or the person who conducted the training and the date that training was completed. The certification record shall be prepared at the completion of the training required in paragraph (i)(1)(ii) of this section, and shall be maintained in a file for the duration of the employee's employment. The certification record shall be kept readily available for review by the Assistant Secretary of Labor or the Assistant Secretary's representative. |
| Respiratory Protection | 29 CFR 1910.134(k) | X | X |  | (k) Training and information. This paragraph requires the employer to provide effective training to employees who are required to use respirators. The training must be comprehensive, understandable, and recur annually, and more often if necessary. This paragraph also requires the employer to provide the basic information on respirators in Appendix D of this section to employees who wear respirators when not required by this section or by the employer to do so. 5) Retraining shall be administered annually, and when the following situations occur: (i) Changes in the workplace or the type of respirator render previous training obsolete; (ii) Inadequacies in the employee's knowledge or use of the respirator indicate that the employee has not retained the requisite understanding or skill; or (iii) Any other situation arises in which retraining appears necessary to ensure safe respirator use. |
| Safety Signs and Color Codes | 29 CFR 1910.145(c) | X |  |  | (c) Classification of signs according to use-(1) Danger signs. (i) There shall be no variation in the type of design of signs posted to warn of specific dangers and radiation hazards. (ii) All employees shall be instructed that danger signs indicate immediate danger and that special precautions are necessary. (2) Caution signs. (i) Caution signs shall be used only to warn against potential hazards or to caution against unsafe practices. (ii) All employees shall be instructed that caution signs indicate a possible hazard against which proper precaution should be taken. |
| Scaffold Safety | 29 CFR 1926.454(a) | X |  |  | a) The employer shall have each employee who performs work while on a scaffold trained by a person qualified in the subject matter to recognize the hazards associated with the type of scaffold being used and to understand the procedures to control or minimize those hazards. |
| Scaffolding – Competent Person | 29 CFR 1926.454(b) 29 CFR 1926.454(c) | X |  |  | (b) The employer shall have each employee who is involved in erecting, disassembling, moving, operating, repairing, maintaining, or inspecting a scaffold trained by a competent person to recognize any hazards associated with the work in question. (c) When the employer has reason to believe that an employee lacks the skill or understanding needed for safe work involving the erection, use or dismantling of scaffolds, the employer shall retrain each such employee so that the requisite proficiency is regained. |
| SPCC: Operation and Maintenance | 40 CFR 112.7(f) | X | X |  | (f) Personnel, training, and discharge prevention procedures. (1) At a minimum, train your oil-handling personnel in the operation and maintenance of equipment to prevent discharges; discharge procedure protocols; applicable pollution control laws, rules, and regulations; general facility operations; and, the contents of the facility SPCC Plan. (2) Designate a person at each applicable facility who is accountable for discharge prevention and who reports to facility management. (3) Schedule and conduct discharge prevention briefings for your oil-handling personnel at least once a year to assure adequate understanding of the SPCC Plan for that facility. Such briefings must highlight and describe known discharges as described in §112.1(b) or failures, malfunctioning components, and any recently developed precautionary measures. |
| SPCC: Facility Response | 40 CFR 112.21(b) | X | X |  | (b) The facility owner or operator shall develop a facility response training program to train those personnel involved in oil spill response activities. It is recommended that the training program be based on the USCG's Training Elements for Oil Spill Response, as applicable to facility operations. An alternative program can also be acceptable subject to approval by the Regional Administrator. (1) The owner or operator shall be responsible for the proper instruction of facility personnel in the procedures to respond to discharges of oil and in applicable oil spill response laws, rules, and regulations. (2) Training shall be functional in nature according to job tasks for both supervisory and non-supervisory operational personnel. Auditor’s Note: USCG’s Training Elements for Oil Spill Response mirrors the requirements in 29 CFR 1910.120 HAZWOPER. Training for HAZWOPER should fulfill this regulatory training requirement. |
| Trenching and Shoring | 29 CFR 1926 |  |  |  | Trenching and Shoring |